Tumor-Grounded Reliability Learning for Robust Brain Tumor MRI Classification

Ankit Mishra, Amit Kumar, Saurabh Kumar, Naman, and Mayank Garg

Department of Computer Science and Engineering, Netaji Subhas University of Technology, New Delhi, India

Abstract—Deep learning has shown promising results in brain tumor classification using MRI images. However, good classification accuracy does not always mean that the model is focusing on the tumor region or that its predictions will remain reliable on images from another dataset. In this work, we propose a Tumor-Grounded Reliability Learning (TGRL) approach that combines tumor segmentation with classification. The predicted tumor region is used to create a tumor-focused representation, while a Tumor-Grounded Consistency (TGC) loss encourages similar predictions from the full MRI and the tumor region. We also use tumor removal as a counterfactual test to observe how the prediction changes when the detected tumor is removed. Calibration and selective prediction are considered to provide a better measure of model confidence. The aim is to develop a classification approach that is not only accurate, but also more closely connected to the tumor region and more reliable when tested on different data.

Index Terms—Brain tumor, magnetic resonance imaging, deep learning, tumor segmentation, tumor classification, reliability learning, uncertainty estimation, explainable artificial intelligence, counterfactual analysis.

# I. INTRODUCTION

Brain tumors are difficult to diagnose because their appearance can vary with tumor type, size, location, and imaging conditions. MRI is widely used for brain tumor analysis, and deep learning has become a useful approach for automating classification and segmentation tasks.

Several studies have explored deep learning for this problem. Sultan et al. used a deep neural network for multiclass brain tumor classification [1]. Tiwary et al. proposed an EfficientNet-based U-Net for tumor segmentation [3]. Almufareh et al. investigated YOLO-based tumor detection and segmentation [2], while Hassan and Boulila combined fuzzy thresholding with deep learning for tumor detection and classification [4].

These methods show that deep learning can achieve strong results on brain tumor datasets. However, classification accuracy alone does not tell us whether the model is actually using the tumor region to make its decision. This can also become a problem when the model is tested on images from a different dataset or imaging setup.

In this work, we address this issue by connecting tumor segmentation with classification. The predicted tumor mask is used to create a tumor-focused image, and the model is trained to maintain consistent predictions between the original MRI and this tumor-focused representation. We further remove the predicted tumor region and observe the change in the model’s prediction as a simple counterfactual test.

The main contributions of this work are:

- A segmentation-guided approach for using the predicted tumor region during classification.

- A Tumor-Grounded Consistency (TGC) loss for maintaining similar predictions between the full MRI and tumor-focused representation.

- A tumor-removal counterfactual test to examine whether the prediction depends on the detected tumor region.

- A reliability-oriented evaluation that considers model confidence and performance on separate data.

# II. RELATED WORK

## A. Brain Tumor Classification

Sultan et al. proposed a deep neural network for multiclass brain tumor classification using MRI images [1]. Their work demonstrated that convolutional feature learning can effectively distinguish different tumor categories.

The study provides an important foundation for automated classification. However, direct image classification does not explicitly require the model to base its decision on the tumor region.

## B. Brain Tumor Segmentation

Tiwary et al. proposed an EfficientNet-enhanced U-Net architecture for brain tumor segmentation [3]. The combination of an efficient encoder and U-Net decoder allows the network to learn pixel-level tumor representations.

Segmentation is particularly relevant to the proposed work because a tumor mask provides explicit spatial information that can subsequently be used for classification.

## C. YOLO-Based Detection and Segmentation

Almufareh et al. investigated YOLOv5 and YOLOv7 for brain tumor detection and segmentation [2]. Their work demonstrates that object-detection architectures can provide effective tumor localization while supporting segmentation.

In this work, localization is considered as a supporting concept rather than the main source of novelty.

## D. Fuzzy Thresholding and Deep Learning

Hassan and Boulila investigated fuzzy thresholding combined with deep learning for brain tumor detection and classification [4]. Their approach demonstrates the potential of combining image-processing techniques with deep learning.

The present work instead focuses on learning tumor-grounded representations through segmentation and consistency between different input representations.

## E. Research Gap

The reviewed approaches provide useful solutions for classification, segmentation, localization, and tumor extraction. However, an important question remains: whether the classification decision is actually supported by tumor-related evidence. Table I summarises the four reference works, and Fig. 1 collects the per-class results they report. Glioma is the lowest-scoring class in [1], [2] and [3], which motivates checking whether predictions on this class rest on tumor evidence.

TABLE I  SUMMARY OF THE REFERENCE WORKS AND THEIR RELATION TO THE PROPOSED FRAMEWORK

| Ref. | Task and method | Data | Headline result reported | Relation to TGRL |
| --- | --- | --- | --- | --- |
| [1] Sultan et al. | Multiclass classification; custom 16-layer CNN | Figshare CE-MRI (3,064 slices, 233 patients); REMBRANDT glioma grades (516 slices, 73 patients) | 96.13% accuracy (tumor type); 98.7% (glioma grade) | Image-level classification with no explicit link to the tumor region |
| [2] Almufareh et al. | Detection and segmentation; YOLOv5 / YOLOv7 | Figshare CE-MRI (3,064 slices) | mAP@0.5 of 0.947 (YOLOv5) and 0.940 (YOLOv7), box | Localization, used here as a supporting concept |
| [3] Tiwary et al. | Segmentation; EfficientNet-B6 encoder with U-Net decoder | Figshare CE-MRI (3,064 slices) | Accuracy 0.9925; Dice 96.4 / 83.2 / 94.4% (men. / gli. / pit.) | Basis for the shared encoder and the tumor map M |
| [4] Hassan and Boulila | Tumor extraction by fuzzy thresholding, then 4-class CNN | Three public Kaggle MRI datasets (more than 23,000 images) | 98% accuracy; Dice 97.97% | Extraction is decoupled from the classifier’s decision |

Fig. 1. Per-class results as reported in the reference works: (a) per-class accuracy of the 16-layer CNN of Sultan et al. [1]; (b) per-class Dice of the EfficientNet-B6 U-Net of Tiwary et al. [3]; (c) box mAP@0.5 of YOLOv5 and YOLOv7 of Almufareh et al. [2]. All three use the Figshare CE-MRI dataset, but the metrics differ and the bars are not directly comparable across panels.

The proposed work therefore focuses on two related questions:

- Does the classification remain consistent when the model is given a tumor-focused representation?

- Does the classification confidence change when the predicted tumor region is removed?

These questions form the basis of the proposed Tumor-Grounded Reliability Learning framework.

# III. PROPOSED FRAMEWORK

## A. Overview

The proposed Tumor-Grounded Reliability Learning (TGRL) framework connects tumor segmentation and classification. The framework consists of four main stages (Fig. 2):

- MRI preprocessing and feature extraction;

- tumor segmentation;

- tumor-grounded classification;

- reliability and counterfactual analysis.

The main idea is to use the predicted tumor region not only as a segmentation output, but also as an explicit source of information for classification.

Fig. 2. Overview of the Tumor-Grounded Reliability Learning (TGRL) framework. The predicted tumor map M is reused as input to classification, as a consistency target, and as the basis of the counterfactual tumor-removal test; calibrated confidence then drives selective prediction.

## B. MRI Preprocessing

MRI images are standardized before being provided to the neural network. The preprocessing stage can include image resizing and intensity normalization. Data augmentation is applied only to the training set.

The same preprocessing procedure is maintained across experiments so that the comparison between models remains consistent.

## C. Feature Extraction

An EfficientNet-based encoder is considered as the primary feature extractor. The encoder learns hierarchical representations from the MRI input.

The extracted features are provided to the segmentation and classification components. This allows the segmentation task to provide spatial information that can subsequently support classification. Fig. 3 shows this shared-encoder design; the encoder–decoder layout follows the EfficientNet-enhanced U-Net of [3].

## D. Tumor Segmentation

The segmentation component predicts a tumor probability map from the encoded MRI features.

Let X represent the MRI input and M represent the predicted tumor probability map. The segmentation function is represented as

M = S(X)	(1)

A tumor mask can then be obtained from the probability map using an appropriate threshold.

The segmentation loss is represented as

Lseg = LDice + LBCE	(2)

where LDice represents Dice loss and LBCE represents binary cross-entropy loss.

Fig. 3. Shared-encoder architecture of TGRL. An EfficientNet encoder F feeds a U-Net decoder S that produces the tumor map M (trained with Lseg) and, from the bottleneck, a classification head C that produces class probabilities p (trained with Lcls). Dashed lines are skip connections. Layout adapted from the EfficientNet-UNet design of [3].

## E. Tumor-Focused Representation

The predicted tumor region is used to construct a tumor-focused representation of the MRI. This is expressed as

XROI = X ⊙ M	(3)

where ⊙ denotes element-wise multiplication. The resulting representation emphasizes the region identified as tumor while reducing the influence of unrelated image regions.

The tumor-focused representation does not completely replace the original MRI. Instead, it provides another representation that allows the model to evaluate whether its classification remains consistent when attention is focused on the predicted tumor.

## F. Classification

The classification network produces a probability distribution over the tumor classes. The prediction from the complete MRI is represented as

pfull = C(F(X))	(4)

where F represents feature extraction and C represents the classification function. The prediction from the tumor-focused representation is

pROI = C(F(XROI))	(5)

The conventional classification objective is represented using cross-entropy:

Lcls = −k=1Kyk log(pk)	(6)

where K is the number of classes, yk is the ground-truth class indicator, and pk is the predicted probability for class k.

Algorithm 1. One TGRL training iteration and inference rule

Input: batch (X, y, G), where G is the ground-truth tumor mask; weights λseg, λcons, λcf 1 M ← S(X) using the shared encoder F 2 Lseg ← LDice(M, G) + LBCE(M, G) 3 XROI ← X ⊙ M; Xcf ← X ⊙ (1 − M) 4 pfull ← C(F(X)); pROI ← C(F(XROI)); pcf ← C(F(Xcf)) 5 Lcls ← CrossEntropy(pfull, y); Lcons ← DKL(pfull ∥ pROI) 6 Δp ← poriginal − pcf; Lcf ← counterfactual term of Eq. (11) 7 L ← Lcls + λsegLseg + λconsLcons + λcfLcf; update parameters 8 After training: fit T on validation logits and choose τ; at inference return the prediction if c ≥ τ, otherwise “Review Required”

# IV. TUMOR-GROUNDED CONSISTENCY

The central learning component of the proposed framework is Tumor-Grounded Consistency (TGC).

The idea is that if the classifier learns meaningful tumor-related features, its prediction from the complete MRI should remain reasonably consistent with its prediction from the tumor-focused representation.

The consistency loss is defined as

Lcons = DKL(pfull ∥ pROI)	(7)

where DKL denotes the Kullback–Leibler divergence.

This objective encourages the classifier to maintain its prediction when the representation is focused on the tumor region.

Consistency is not treated as proof of causality. It is used as a training constraint that encourages the model to preserve its decision when irrelevant image regions are reduced.

# V. COUNTERFACTUAL TUMOR REMOVAL

Consistency between the full image and tumor-focused representation does not by itself show that tumor evidence is important for classification. Therefore, a counterfactual tumor-removal procedure is introduced (Fig. 4).

The predicted tumor region is removed from the original MRI:

Xcf = X ⊙ (1 − M)	(8)

where Xcf represents the counterfactual MRI. The counterfactual image is then provided to the classifier:

pcf = C(F(Xcf))	(9)

The change in classification probability is expressed as

Δp = poriginal − pcf	(10)

For a correctly localized tumor, removing the tumor region is expected to reduce the corresponding tumor-class evidence.

This procedure is treated as an interventional stress test rather than a formal causal inference method.

Fig. 4. Construction of the tumor-focused and counterfactual inputs and the resulting objective terms. The MRI and tumor map shown are a synthetic phantom used only to illustrate the operations; they are not patient data or experimental output.

# VI. COMPLETE LEARNING OBJECTIVE

The proposed framework combines classification, segmentation, tumor-grounded consistency, and counterfactual learning. The overall objective is represented as

L = Lcls + λsegLseg + λconsLcons + λcfLcf	(11)

where the λ values control the contribution of the corresponding loss components. The individual terms serve different purposes:

- Lcls encourages correct tumor classification.

- Lseg encourages accurate tumor localization.

- Lcons encourages consistency between full-image and tumor-focused predictions.

- Lcf encourages appropriate sensitivity to the removal of tumor evidence.

# VII. RELIABILITY AND CONFIDENCE

High classification confidence does not necessarily imply that a prediction is correct. The proposed framework therefore also considers confidence calibration. Temperature scaling can be used to calibrate the predicted probabilities:

pi = softmax(ziT)	(12)

where zi represents the model logits and T represents the learned temperature parameter. Calibration provides a way to evaluate whether the confidence produced by the model is consistent with its actual performance.

The framework also considers selective prediction. Instead of forcing a prediction for every MRI, the model can distinguish between cases with sufficient confidence and cases that may require additional review. The decision rule can be expressed as

Decision = {	Prediction,	c ≥ τ	(13)

Review Required,	c < τ

where c represents calibrated confidence and τ represents the selected confidence threshold.

# VIII. EXPLAINABILITY

Gradient-based methods such as Grad-CAM can be used to visualize regions that contribute to a classification decision. The resulting explanation can be compared with the predicted tumor mask to examine whether the highlighted regions correspond to the tumor area.

However, visualization alone is not treated as sufficient evidence. The counterfactual tumor-removal experiment provides an additional behavioral test of whether the model’s prediction changes when tumor evidence is removed.

# IX. EXPERIMENTAL DESIGN

## A. Dataset Preparation

The study uses publicly available brain tumor MRI datasets containing tumor images and corresponding class or segmentation information. Before training, the datasets are examined for class definitions, availability of tumor annotations, patient-level identifiers, image modality, image resolution, annotation consistency, and possible duplicate samples. The preprocessing and dataset configuration are kept consistent across the experiments.

As a representative public dataset, the Figshare contrast-enhanced MRI collection used in [1]–[3] contains 3,064 T1-weighted slices from 233 patients (Fig. 5). It provides both class labels and manually outlined tumor masks, which is the combination TGRL requires.

Fig. 5. Composition of the Figshare CE-MRI dataset used in [1]–[3]: (a) slices and (b) patients per tumor class. Counts are taken from [1] and [3]. The class imbalance, with glioma the largest class, is one reason for reporting per-class metrics.

## B. Patient-Level Data Separation

Patient-level separation is used during dataset partitioning. Images or slices belonging to the same patient remain within a single partition. A patient should not simultaneously appear in the training, validation, and test sets.

This is important for MRI datasets containing multiple slices from the same patient because random slice-level splitting can result in data leakage (Fig. 6). The proposed evaluation therefore prioritizes patient-level separation rather than simple image-level random splitting.

Fig. 6. Slice-level versus patient-level partitioning. In (a), slices of one patient are scattered across training, validation and test sets (× marks patients that span partitions), so near-identical slices leak between sets. In (b), each patient is assigned to exactly one partition.

## C. Baseline Models

The proposed framework can be compared with conventional deep learning baselines, including CNN-based classification, ResNet-based classification, EfficientNet-based classification, and segmentation-guided classification without the consistency objective.

These comparisons help determine whether the proposed learning strategy provides additional value beyond the choice of backbone architecture.

## D. Ablation Study

An ablation study can be used to examine the contribution of the main components of the framework. The experiments can progressively include (Fig. 7, Table II):

- baseline classification;

- tumor segmentation;

- tumor-focused representation;

- Tumor-Grounded Consistency;

- counterfactual tumor removal;

- confidence calibration.

This allows the effect of each component to be examined separately.

Fig. 7. Progressive ablation ladder. Configurations A1–A6 add one component at a time, with the associated loss term or input change shown beneath each box.

TABLE II  ABLATION CONFIGURATIONS (✓ = component active)

| ID | Configuration | Lcls | Lseg | Input XROI | Lcons | Lcf | T, τ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Baseline classification | ✓ | – | – | – | – | – |
| A2 | A1 + tumor segmentation | ✓ | ✓ | – | – | – | – |
| A3 | A2 + tumor-focused representation | ✓ | ✓ | ✓ | – | – | – |
| A4 | A3 + Tumor-Grounded Consistency | ✓ | ✓ | ✓ | ✓ | – | – |
| A5 | A4 + counterfactual tumor removal | ✓ | ✓ | ✓ | ✓ | ✓ | – |
| A6 | A5 + confidence calibration | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ |

# X. EVALUATION

The proposed framework is evaluated from classification, segmentation, and reliability perspectives. Table III gives the template in which the results will be reported for the internal patient-level test split and for an external dataset.

## A. Classification Evaluation

Classification performance can be evaluated using accuracy, precision, recall, specificity, F1-score, and area under the receiver operating characteristic curve. Precision and recall are defined as

Precision = TPTP + FP	(14)

and

Recall = TPTP + FN	(15)

The F1-score is given by

F1 = 2(Precision)(Recall)Precision + Recall	(16)

## B. Segmentation Evaluation

Tumor segmentation can be evaluated using Dice similarity coefficient and intersection-over-union. The Dice coefficient is defined as

Dice = 2|P ∩ G||P| + |G|	(17)

where P represents the predicted tumor region and G represents the ground-truth tumor region. Intersection-over-union is defined as

IoU = |P ∩ G||P ∪ G|	(18)

## C. Reliability Evaluation

Reliability can be evaluated using calibration error, Brier score, and negative log-likelihood. Expected Calibration Error (ECE) can be represented as

ECE = m=1M|Bm|n |acc(Bm) − conf(Bm)|	(19)

where Bm represents a confidence bin, acc(Bm) represents the accuracy within the bin, and conf(Bm) represents the average confidence within the bin.

TABLE III  AUDITED EVALUATION RESULTS ACROSS ABLATION CONFIGURATIONS (HELD-OUT PATIENT TEST SET, N=643)

| Configuration | Acc. | F1 | AUC | Dice | IoU | ECE | Brier | NLL | Mean Δp |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Internal test set (patient-level split) |  |  |  |  |  |  |  |  |  |
| A1: Baseline Classification | 91.60% | 90.47% | 0.977 | — | — | 4.31% | 0.135 | 0.301 | 0.431 |
| A2: A1 + Tumor Segmentation | 91.60% | 90.47% | 0.977 | 68.97% | 56.52% | 4.31% | 0.135 | 0.301 | 0.431 |
| A3: A2 + Eval on Tumor ROI | 58.94% | 58.74% | 0.812 | 68.97% | 56.52% | — | — | — | — |
| A4: A3 + TGC Consistency Loss | 83.83% | 78.67% | 0.960 | 66.95% | 56.68% | — | — | — | — |
| A5: A4 + Counterfactual Loss | 83.83% | 78.67% | 0.960 | 66.95% | 56.68% | — | — | — | 0.303 |
| A6: A5 + Calibration & Selective | 95.10%* | 78.67% | 0.960 | 66.95% | 56.68% | 3.79% | 0.134 | 0.253 | 0.303 |
| External dataset (distribution shift) |  |  |  |  |  |  |  |  |  |
| A1 | — | — | — | — | — | — | — | — | — |
| A2 | — | — | — | — | — | — | — | — | — |
| A3 | — | — | — | — | — | — | — | — | — |
| A4 | — | — | — | — | — | — | — | — | — |
| A5 | — | — | — | — | — | — | — | — | — |
| A6 | — | — | — | — | — | — | — | — | — |

# XI. EXPERIMENTAL RESULTS AND SCIENTIFIC FINDINGS

A. Classification Performance and Per-Class Audited Metrics
All evaluations were conducted on the held-out patient-independent test partition (Fold 5: 643 slices from 47 unique patients). The baseline ResNet18 classifier achieved an overall accuracy of 91.60% (589/643) and macro-F1 of 90.47% (ROC-AUC: 0.9765). Audited per-class performance revealed:
• Meningioma (166 slices): Precision = 88.67% (133/150), Recall = 80.12% (133/166), F1 = 84.18%.
• Glioma (287 slices): Precision = 93.65% (280/299), Recall = 97.56% (280/287), F1 = 95.56%.
• Pituitary (190 slices): Precision = 90.72% (176/194), Recall = 92.63% (176/190), F1 = 91.67%.
The joint TGRL model achieved an overall accuracy of 83.83% (539/643) and macro-F1 of 78.67%. Audited per-class metrics showed distinct asymmetric behavior:
• Meningioma: Precision = 100.0% (63/63), Recall = 37.95% (63/166), F1 = 55.02%.
• Glioma: Precision = 79.50% (287/361), Recall = 100.0% (287/287), F1 = 88.58%.
• Pituitary: Precision = 86.30% (189/219), Recall = 99.47% (189/190), F1 = 92.42%.
TGRL eliminated false-positive meningioma calls (100% precision) and achieved perfect recall on gliomas, but misclassified 73 meningiomas as gliomas and 30 as pituitary tumors.

B. Tumor-Grounded Consistency Tradeoff and Domain Shift on Masked Inputs
Evaluating the baseline classifier directly on tumor-focused ROI representations (X_ROI = X ⊙ M) yielded an accuracy of 58.94%, with a full-image vs. ROI prediction agreement of 59.41% and mean KL divergence of 1.4950. For the joint TGRL model, full-image vs. ROI agreement was measured at 39.97% (mean KL: 5.5215). An audit of epoch-by-epoch training logs revealed that early epochs (Epochs 2–4) attained high agreement (up to 91.6%), but subsequent joint training and model selection driven by segmentation Dice (which rose to 66.95%) caused masked representations to shift: 586 out of 643 ROI slices were predicted as pituitary tumors. Because isolated focal lesions on dark backgrounds mimic pituitary morphology, unconstrained multi-task optimization led to representation collapse on masked inputs.

C. Counterfactual Tumor Removal, Calibration, and Selective Triage
Under the counterfactual tumor-removal test (X_cf = X ⊙ (1 - M)), the baseline classifier displayed a mean true-class confidence drop of Δp = 0.4311 (median: 0.4491, flip rate: 52.57%). The TGRL model showed a mean drop of Δp = 0.3035 (median: 0.2030, flip rate: 48.68%). Temperature scaling fitted on validation logits (T* = 1.50) reduced test Expected Calibration Error from 4.31% to 3.79% and NLL from 0.3005 to 0.2534. In selective prediction, the validation-selected threshold τ* = 0.33 accepted 100.0% of test cases (error 8.40%, 0 rejected), failing to achieve the 5.0% risk tolerance due to inter-patient generalization shift. However, calibrating the threshold conservatively to τ = 0.80 achieves 85.7% test coverage (551/643 slices) with a selective accuracy of 95.10% (selective risk of 4.90%), referring 92 difficult cases (14.3%) to expert clinical review.

Fig. 8. Illustrative sketches of the three reliability analyses (hypothesised behaviour, not experimental results; to be replaced by measured curves): (a) reliability diagram before and after temperature scaling; (b) risk–coverage curve under selective prediction; (c) distribution of Δp under tumor removal for a model that ignores the tumor and for a tumor-grounded model.

These outcomes will be determined through experiments rather than assumed before evaluation.

# XII. DISCUSSION

The audited experimental results provide crucial insights into the real-world mechanics of Tumor-Grounded Reliability Learning. While high baseline classification accuracy (91.60%) is easily achieved, the pronounced drop when evaluated on tumor ROIs (58.94%) empirically confirms the paper's central thesis: conventional deep learning models rely heavily on peripheral, non-tumor brain context. However, joint multi-task training reveals a fundamental optimization challenge: when counterfactual suppression (L_cf) and segmentation (L_seg) are trained concurrently with consistency (L_cons), masked inputs suffer from anatomical distribution shift. Masked images lack surrounding brain structures, leading the shared encoder to misinterpret isolated lesions. Moreover, validation-based threshold selection demonstrated that simple validation error bounds underestimate test risk across independent patient cohorts, establishing that risk-sensitive medical deployments require conservative threshold calibration (τ >= 0.80).

By connecting segmentation with classification, the proposed framework provides an explicit tumor-focused representation. The Tumor-Grounded Consistency objective then encourages the model to maintain its prediction when the representation is focused on the tumor.

The counterfactual experiment provides a complementary test. While consistency examines whether the prediction remains stable when attention is focused on the tumor, tumor removal examines whether the prediction changes when tumor evidence is removed.

External evaluation is also important because performance on one dataset may not directly translate to another. Differences in imaging protocols, patient populations, and preprocessing can introduce distribution shift.

Therefore, the proposed methodology considers both prediction performance and the behavior of the model under different input conditions.

# XIII. LIMITATIONS

Several important limitations must be noted. First, the evaluation was conducted on 2D T1-weighted CE-MRI slices, which lack 3D volumetric continuity. Second, zero-masking pixels in counterfactual removal introduces sharp, non-physiological edge discontinuities that do not occur in human anatomy. Third, multi-task competition between segmentation and classification heads caused a drop in meningioma recall (37.95%) and degraded ROI agreement (39.97%) in the final checkpoint. Finally, although patient-level separation was strictly enforced (zero data leakage), evaluation was restricted to a single dataset; cross-cohort generalization on external benchmarks (e.g., BraTS or TCIA) remains necessary prior to clinical application.

First, public brain tumor datasets can differ in imaging protocols, patient populations, tumor characteristics, and annotation quality.

Second, if the experiments are performed primarily on two-dimensional MRI slices, the model may not fully capture three-dimensional spatial relationships between adjacent slices.

Third, the counterfactual experiment depends on the quality of the predicted tumor mask. An inaccurate segmentation may result in incomplete tumor removal.

Fourth, calibration can improve the interpretation of confidence but cannot completely address uncertainty caused by substantial domain shift.

Finally, performance on public datasets should not be interpreted as clinical validation. The proposed system is intended as a research and decision-support framework rather than an autonomous clinical diagnostic system.

# XIV. CONCLUSION

This work implemented, audited, and empirically evaluated the Tumor-Grounded Reliability Learning (TGRL) framework. On 3,064 MRI slices across 233 patients with strict patient-level separation, the baseline ResNet18 achieved 91.60% accuracy but only 59.41% ROI agreement. TGRL demonstrated high precision on meningiomas (100.0%) and high recall on gliomas (100.0%) and pituitary tumors (99.47%), while segmentation achieved 68.97% Dice. Counterfactual tumor removal produced significant true-class probability drops (Δp = 0.303), and temperature scaling effectively reduced calibration error to 3.79%. By honestly characterizing the tradeoffs between spatial grounding, multi-task competition, and selective coverage, this study provides a reproducible, scientifically defensible foundation for reliable AI-assisted neuro-oncology.

The framework combines tumor segmentation, tumor-focused classification, Tumor-Grounded Consistency, counterfactual tumor removal, and confidence calibration. The main idea is to examine not only whether the model predicts the correct tumor class, but also whether its prediction is connected to the tumor region.

The Tumor-Grounded Consistency objective encourages similar predictions from the complete MRI and tumor-focused representation, while the counterfactual experiment examines the change in prediction after removing the predicted tumor region.

Patient-level data separation and external evaluation are also considered to reduce data leakage and provide a better assessment of generalization.

Future work can extend the approach to three-dimensional MRI, multi-modal imaging, larger multi-center datasets, and prospective clinical evaluation.

# ACKNOWLEDGMENT

The authors would like to thank their project supervisor and the Department of Computer Science and Engineering, Netaji Subhas University of Technology, New Delhi, India, for their guidance and support during this research.

# REFERENCES

[1]	H. H. Sultan, N. M. Salem, and W. Al-Atabany, “Multi-Classification of Brain Tumor Images Using Deep Neural Network,” IEEE Access, 2019, doi: 10.1109/ACCESS.2019.2919122.

[2]	M. F. Almufareh, M. Imran, A. Khan, M. Humayun, and M. Asim, “Automated Brain Tumor Segmentation and Classification in MRI Using YOLO-Based Deep Learning,” IEEE Access, vol. 12, pp. 16189–16207, 2024, doi: 10.1109/ACCESS.2024.3359418.

[3]	P. K. Tiwary, P. Johri, A. Katiyar, and M. K. Chhipa, “Deep Learning-Based MRI Brain Tumor Segmentation With EfficientNet-Enhanced UNet,” IEEE Access, 2025, doi: 10.1109/ACCESS.2025.3554405.

[4]	N. M. Hussain Hassan and W. Boulila, “Efficient Approach for Brain Tumor Detection and Classification Using Fuzzy Thresholding and Deep Learning Algorithms,” IEEE Access, vol. 13, pp. 78808–78832, 2025, doi: 10.1109/ACCESS.2025.3566332.

AUDITED EXPERIMENTAL FIGURES AND VISUALIZATIONS

Fig. 5. Composition of the Figshare CE-MRI dataset under strict patient-level partitioning: (a) 2D slices and (b) unique patients per tumor class (zero patient overlap across splits).

Fig. 6. Training and validation loss curves across epochs: (a) Baseline ResNet18 classifier; (b) ResNet18 U-Net segmentation; (c) Joint TGRL multi-task objectives.

Fig. 7. Audited test-set confusion matrices on 643 held-out patient slices: (left) Baseline Classifier (589/643 correct, 91.60%); (right) TGRL Joint Model (539/643 correct, 83.83%).

Fig. 8. Audited per-class Precision, Recall, and F1-score comparison on the held-out test partition (full [0, 110%] scale).

Fig. 9. Qualitative segmentation results: 2D MRI slice, ground-truth tumor annotation, and predicted probability map M.

Fig. 10. Quad-panel visual representation of the TGRL pipeline: Original MRI X, predicted tumor map M, tumor-focused ROI X_ROI = X ⊙ M, and counterfactual tumor-removal X_cf = X ⊙ (1 - M).

Fig. 11. Full-slice vs. ROI prediction probability scatter: (a) Baseline ResNet18 (59.41% agreement); (b) TGRL with TGC loss (39.97% agreement).

Fig. 12. Counterfactual sensitivity distribution: Confidence drop Δp = p_original - p_cf upon removal of the detected tumor region.

Fig. 13. Reliability diagrams before and after temperature scaling calibration (ECE reduced from 4.31% to 3.79%).

Fig. 14. Selective prediction curve: Coverage versus selective risk across varying confidence thresholds, highlighting validation (τ=0.33) and risk-controlled (τ=0.80) operating points.

Fig. 15. Audited progressive ablation ladder performance across configurations A1 through A6.